**WESTERN STATES SEISMIC POLICY COUNCIL**

**DRAFT Policy Recommendation 19-12**

**Earthquake Actuated Automatic Gas Shutoff Devices**

**DRAFT Policy Recommendation 19-12**

WSSPC recommends that each state, province or territory that is considering implementing requirements for installing earthquake-actuated automatic gas shutoff devices in industrial, commercial and/or residential applications assure that shutoff valves meet the provisions of the most currently available revision of ANSI/ASCE/SEI Standard 25 (Earthquake-Actuated Automatic Gas Shutoff Devices) and be installed in conformance with the manufacturer’s installation instructions. The cost versus benefit of turning gas on after an event or the analysis of false activation is left to the authority having jurisdiction. The policy only advocates that if a decision is made to proceed with earthquake actuated automatic gas shutoff devices that the current standard be utilized.

**Executive Summary**

Natural gas piping and appliances may be damaged during earthquakes, causing gas leaks. These leaks, if ignited, can result in fires and explosions that may jeopardize personal safety as well as resulting in significant damage to structures.

Fires and explosions may be more destructive to buildings than the earthquake itself. The ability to manually shut off a gas valve after an earthquake may be difficult or impossible due to debris or ground movement. Risk of gas related damage is further exacerbated if structures are unoccupied, thus placing the burden of shutting off gas service upon utilities or government agencies. Several types of devices or systems are available to automatically shut off gas flow within structures if leakage occurs. These include excess flow valves and methane detectors connected to solenoid valves. Hybrid detection systems are available that can combine vibration sensing, excess gas flow and the presence of methane to cause valve closure. Earthquake actuated automated gas shutoff valves rely on ground motion to initiate closure. The reliability of automatic gas shutoff valves has been greatly improved with the adoption of ANSI/ASCE/SEI Standard 25.

**Background**

The number of post-earthquake fire ignitions related to natural gas can be expected to be between 20% and 50% of the total post-earthquake fire ignitions. (California Seismic Safety Commission, 2002).

While the installation of excess flow valves is currently mandated by Federal Code on new or replacement natural gas service lines serving single family residences, these valves alone may not detect leakage within structures caused by damaged or overturned appliances or equipment. The value of these may be enhanced by the addition of an automatic gas shutoff valve. Earthquake-activated automatic gas shutoff devices are relatively inexpensive and a proven method to prevent the loss of gas, resultant fires and possible community conflagrations that might result from an errant spark. However, these valves may close in situations where no gas leakage has occurred, leading to increased gas system restoration time since operators must visit each customer where gas service has been interrupted.

**Reference**

California Seismic Safety Commission, 2002, *Improving Natural Gas Safety in Earthquakes*

**Internal Section:**

**Facilitation and Communication**

• Encourage communication with various jurisdictions that currently mandate the use of earthquake automated gas shutoff devises to ascertain the value of their programs.

• Commence an ongoing education program demonstrating both the pros and cons of automatic gas shutoff valveinstallation.

• Target utility companies, homeowners, and policy makers.

**Assessment**

The success of the policy may be measured by voluntary use of the ANSI/ASCE/SEI Standard 25 in selecting qualified Earthquake-Actuated Automatic Gas Shutoff Devices automatic shutoff valves as well as in meeting mandatory requirements established in states, provinces, territories and local jurisdictions.

**History**

Policy Recommendation 16-12 was adopted by unanimous vote of the WSSPC membership at the Annual Business Meeting May 6, 2016. Policy Recommendation 16-12 was first adopted as Policy Recommendation 13-12 which was adopted by unanimous vote of the WSSPC membership at the Annual Business Meeting May 3, 2013.